## water heating
Confidential
Boiler efficiency
84%
Water temperature (45C)
Month | Average Temperature | Days /Month | Heating requirement* | Energy from boiler (84% eff) | Gas avoidance
| (°C) |  | (GJ) | (GJ) | (mmbtu)
Jan | 4 | 31 | 10326.434 | 12293.3738 | 11651.8243
Feb | 4 | 28 | 9017.916 | 10735.6142 | 10175.359
Mar | 5 | 31 | 9662.0528 | 11502.4438 | 10902.1703
Apr | 11 | 30 | 7480.299 | 8905.1178 | 8440.3899
May | 16 | 31 | 6119.3001 | 7284.8811 | 6904.7079
Jun | 20 | 30 | 4675.1868 | 5565.6986 | 5275.2437
Jul | 24 | 31 | 3542.7527 | 4217.5627 | 3997.4625
Aug | 25 | 31 | 3220.6843 | 3834.1479 | 3634.0568
Sep | 22 | 30 | 4051.8286 | 4823.6055 | 4571.8779
Oct | 17 | 31 | 5797.2317 | 6901.4663 | 6541.3022
Nov | 10 | 30 | 7791.9781 | 9276.1644 | 8792.0729
Dec | 6 | 31 | 9339.9844 | 11119.029 | 10538.7647
|  | Total | 81025.6484 | 96459.1053 | 91425.232 | mmbtu
|  |  | availability | 95% | 95%
|  |  | Total | 91636.15 | 86853.9704 | mmbtu
|  |  | GHG reduction | 5123.3771 | MTCO2e
* 8688 hr per year
Pueblo River

## building heating
Confidential
Air Heating Efficiency
90%
Month | Average Temperature (°F) | Average Temperature (°C) | Days/Month | Heating Requirement (GJ) | Heating Requirement (MMBtu)
Jan | 31.9 | -0.055556 | 31 | 25289.085 | 23970.6967
Feb | 34.6 | 1.4444 | 28 | 21222.1971 | 20115.8266
Mar | 43.5 | 6.3889 | 31 | 17585.4772 | 16668.6988
Apr | 50.9 | 10.5 | 30 | 12262.3613 | 11623.0913
May | 60.7 | 15.9444 | 31 | 6162.8863 | 5841.5984
Jun | 71.4 | 21.8889 | 30 | 0 | 0
Jul | 76.8 | 24.8889 | 31 | 0 | 0
Aug | 74.4 | 23.5556 | 31 | 0 | 0
Sep | 66.5 | 19.1667 | 30 | 2236.5313 | 2119.9349
Oct | 52.7 | 11.5 | 31 | 11475.7193 | 10877.459
Nov | 40.9 | 4.9444 | 30 | 18689.1754 | 17714.8582
Dec | 31.4 | -0.33333 | 31 | 25621.1371 | 24285.438
|  |  | Total | 140544.57 | 133217.6019 | mmbtu
|  |  | availability | 95%
|  |  | Total | 133517.3415 | 126556.7218 | mmbtu
|  |  |  | GHG reduction | 6721.997 | MTCO2e
* 8688 hr per year

## Weather Data
Confidential
2021 ASHRAE Handbook — Fundamentals (IP) © 2021 ASHRAE, Inc. PUEBLO, CO, USA WMO: 724640
Lat: 38.289N Lon: 104.506W Elev: 4729 StdP: 12.35 Time Zone: -7.00 (NAM) Period: 94-19 WBAN: 93058
Coldest |  |  |  | Heating DB Humidification DP/MCDB and HR Coldest Month WS/MCDB MCWS/PCWD
Month | [7 empty] | 99.6% 99% 0.4% 1% | [23 empty] | to 99.6% DB WSF
99.6% 99% DP HR MCDB DP HR MCDB WS MCDB WS MCDB MCWS PCWD ( a) ( b) ( c) ( d) ( e) ( f ) ( g) ( h) ( i ) ( j ) ( k) ( l ) ( m) ( n) ( o) ( p) ( 1 ) 12 1.0 7.2 -7.5 4.4 17.1 -2.9 5.6 25.2 32.7 43.9 28.6 45.5 4.0 260 0.586 ( 1 )
Hottest |  |  | Hottest |  |  |  |  | Cooling DB/MCWB Evaporation WB/MCDB MCWS/PCWD
Month |  |  | Month |  |  | 0.4% 1% 2% 0.4% 1% 2% | [29 empty] | to 0.4% DB
DB Range DB MCWB DB | [10 empty] | MCWB |  |  |  | DB |  | MCWB |  | WB |  |  | MCDB |  |  | WB |  | MCDB |  | WB |  | MCDB |  | MCWS |  |  |  |  | PCWD
( a) ( b) ( c) ( d) ( e) | [10 empty] | ( f ) |  |  |  | ( g) |  | ( h) |  | ( i ) |  |  | ( j ) |  |  | ( k) |  | ( l ) |  | ( m) |  | ( n) |  | ( o) |  |  |  |  | ( p)
7 31.7 98.7 62.3 96.2 | [10 empty] | 62.1 |  |  |  | 93.5 |  | 61.7 |  | 67.1 |  |  | 85.4 |  |  | 66 |  | 84.4 |  | 64.9 |  | 83.3 |  | 11 |  |  |  |  | 120 |  | -2
( 2 ) Extreme Max WB
|  |  |  | Dehumidification DP/MCDB and HR | [22 empty] | Enthalpy/MCDB
0.4% |  |  |  | 1% | [10 empty] | 2% | [6 empty] | 0.4% |  |  |  |  | 1% | [5 empty] | 2%
|  | DP |  |  | HR |  | MCDB |  | DP |  |  | HR |  | MCDB |  |  | DP |  | HR |  |  |  | MCDB |  | Enth |  | MCDB |  | Enth |  | MCDB |  |  | Enth |  |  | MCDB
|  | ( a) |  |  | ( b) |  | ( c) |  | ( d) |  |  | ( e) |  | ( f ) |  |  | ( g) |  | ( h) |  |  |  | ( i ) |  | ( j ) |  | ( k) |  | ( l ) |  | ( m) |  |  | ( n) |  |  | ( o) |  |  | ( p)
-3 |  | 62.8 |  |  | 102.3 |  | 69.7 |  | 61.3 |  |  | 96.8 |  | 69.5 |  |  | 59.8 |  | 91.7 |  |  |  | 69.9 |  | 34.2 |  | 84.6 |  | 33.2 |  | 84 |  |  | 32.3 |  |  | 82.8 |  |  | 71.4 |  | -3
Extreme Annual Design Conditions
Extreme Annual WS Extreme Annual Temperature n-Year Return Period Values of Extreme Temperature
Mea | [12 empty] | n |  |  | Standard |  | Deviation |  |  | n=5 |  |  | years |  | n=10 |  | years |  | n=20 |  | years |  |  | n=50 |  |  |  | years
1% 2.5% 5% Min | [12 empty] | Max |  |  | Min |  | Max |  |  | Min |  |  | Max |  | Min |  | Max |  | Min |  | Max |  |  | Min |  |  |  | Max
( a) ( b) ( c) ( e) ( f ) ( g) ( h) ( i ) ( j ) ( k) ( l ) ( m) ( n) ( o) ( p) 28.8 24.8 20.4 DB -9.5 102.9 6.7 1.8 -14.3 104.2 -18.3 105.3 -22.0 106.3 -26.9 107.6 ( 4 ) WB -10.1 69.5 6.5 1.1 -14.7 70.3 -18.5 70.9 -22.2 71.5 -26.9 72.3 ( 5 ) Monthly Climatic Design Conditions
[8 empty] | Annual |  | Jan |  |  | Feb |  |  | Mar |  | Apr |  |  | May |  |  | Jun |  | Jul |  | Aug |  | Sep |  | Oct |  |  | Nov |  |  |  | Dec
[8 empty] | ( d) |  | ( e) |  |  | ( f ) |  |  | ( g) |  | ( h) |  |  | ( i ) |  |  | ( j ) |  | ( k) |  | ( l ) |  | ( m) |  | ( n) |  |  | ( o) |  |  |  | ( p)
[6 empty] | DBAvg |  | 53.1 |  | 31.9 |  |  | 34.6 |  |  | 43.5 |  | 50.9 |  |  | 60.7 |  |  | 71.4 |  | 76.8 |  | 74.4 |  | 66.5 |  | 52.7 |  |  | 40.9 |  |  |  | 31.4 |  | -6
[6 empty] | DBStd |  | 18.08 |  | 10.23 |  |  | 10.44 |  |  | 9.27 |  | 8.45 |  |  | 7.59 |  |  | 6.18 |  | 4.53 |  | 4.43 |  | 7.18 |  | 8.8 |  |  | 9.12 |  |  |  | 10.22 |  | -7
Temperatures, | [5 empty] | HDD50 |  | 2283 |  | 565 |  |  | 435 |  |  | 237 |  | 90 |  |  | 11 |  |  | 0 |  | 0 |  | 0 |  | 3 |  | 72 |  |  | 292 |  |  |  | 578 |  | -8
Degree-Days | [5 empty] | HDD65 |  | 5378 |  | 1027 |  |  | 850 |  |  | 666 |  | 425 |  |  | 172 |  |  | 17 |  | 1 |  | 2 |  | 66 |  | 387 |  |  | 724 |  |  |  | 1041 |  | -9
and | [5 empty] | CDD50 |  | 3404 |  | 2 |  |  | 5 |  |  | 36 |  | 116 |  |  | 343 |  |  | 642 |  | 832 |  | 756 |  | 498 |  | 155 |  |  | 17 |  |  |  | 2 |  | -10
Degree-Hours | [5 empty] | CDD65 |  | 1025 |  | 0 |  |  | 0 |  |  | 0 |  | 1 |  |  | 38 |  |  | 209 |  | 368 |  | 293 |  | 111 |  | 5 |  |  | 0 |  |  |  | 0 |  | -11
[6 empty] | CDH74 |  | 15374 |  | 1 |  |  | 4 |  |  | 57 |  | 239 |  |  | 1051 |  |  | 3292 |  | 4791 |  | 3597 |  | 1933 |  | 382 |  |  | 26 |  |  |  | 1 |  | -12
[6 empty] | CDH80 |  | 7858 |  | 0 |  |  | 0 |  |  | 4 |  | 41 |  |  | 405 |  |  | 1760 |  | 2751 |  | 1896 |  | 897 |  | 103 |  |  | 1 |  |  |  | 0 |  | -13
Wind | [5 empty] | WSAvg |  | 7.8 |  | 6.7 |  |  | 7.6 |  |  | 8.6 |  | 9.8 |  |  | 8.9 |  |  | 8.7 |  | 8 |  | 7.4 |  | 7.2 |  | 7.3 |  |  | 6.7 |  |  |  | 6.7 |  | -14
[6 empty] | PrecAvg |  | 11.5 |  | 0.3 |  |  | 0.3 |  |  | 0.8 |  | 1.1 |  |  | 1.2 |  |  | 1.3 |  | 2 |  | 1.9 |  | 0.8 |  | 0.7 |  |  | 0.5 |  |  |  | 0.4 |  | -15
Precipitation | [5 empty] | PrecMax |  | 17.9 |  | 0.9 |  |  | 1.4 |  |  | 3 |  | 5.3 |  |  | 2.7 |  |  | 4.3 |  | 5.2 |  | 4.4 |  | 2.7 |  | 2.6 |  |  | 2.5 |  |  |  | 1 |  | -16
[6 empty] | PrecMin |  | 6.3 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0.1 |  | 0.1 |  | 0.1 |  | 0 |  |  | 0 |  |  |  | 0 |  | -17
[6 empty] | PrecStd |  | 2.7 |  | 0.2 |  |  | 0.3 |  |  | 0.6 |  | 1.1 |  |  | 0.7 |  |  | 1.1 |  | 1.2 |  | 1.1 |  | 0.6 |  | 0.6 |  |  | 0.5 |  |  |  | 0.3 |  | -18
[6 empty] | 0.4% |  | DB |  | 69.7 |  |  | 72.9 |  |  | 79.5 |  | 84.7 |  |  | 93.6 |  |  | 101.3 |  | 102.6 |  | 99.4 |  | 96 |  | 87.4 |  |  | 77.8 |  |  |  | 68.8 |  | -19
Monthly Design | [7 empty] | MCWB |  | 45.3 |  |  | 46.6 |  |  | 49.9 |  | 52.1 |  |  | 58.5 |  |  | 61 |  | 63.3 |  | 63 |  | 61.2 |  | 55.5 |  |  | 49.4 |  |  |  | 45.3 |  | -20
Dry Bulb | [5 empty] | 2% |  | DB |  | 63.3 |  |  | 66.9 |  |  | 74.8 |  | 80.3 |  |  | 88.5 |  |  | 97.6 |  | 99.5 |  | 96.3 |  | 92.4 |  | 82.9 |  |  | 72.3 |  |  |  | 62.6 |  | -21
and | [7 empty] | MCWB |  | 42.6 |  |  | 44.4 |  |  | 47.6 |  | 50.9 |  |  | 56.3 |  |  | 60.2 |  | 62.8 |  | 62.6 |  | 59.8 |  | 54 |  |  | 47.5 |  |  |  | 42.6 |  | -22
Mean Coincident | [5 empty] | 5% |  | DB |  | 57.9 |  |  | 62.1 |  |  | 70.3 |  | 76.4 |  |  | 84.7 |  |  | 94.2 |  | 97 |  | 93.6 |  | 89.4 |  | 78.4 |  |  | 66.9 |  |  |  | 57 |  | -23
Wet Bulb | [7 empty] | MCWB |  | 40.2 |  |  | 42.2 |  |  | 46.1 |  | 49.7 |  |  | 55.6 |  |  | 60.1 |  | 62.9 |  | 62.7 |  | 59 |  | 52.2 |  |  | 45.5 |  |  |  | 40.1 |  | -24
Temperatures | [7 empty] | DB |  | 51.8 |  |  | 55.5 |  |  | 65.1 |  | 71.9 |  |  | 80.3 |  |  | 90.6 |  | 94.2 |  | 90.7 |  | 85.8 |  | 72.9 |  |  | 60.8 |  |  |  | 50.9 |  | -25
[8 empty] | MCWB |  | 37.6 |  |  | 39.2 |  |  | 44.1 |  | 48.1 |  |  | 54.3 |  |  | 59.8 |  | 62.8 |  | 62.7 |  | 58.6 |  | 50.7 |  |  | 42.9 |  |  |  | 37.3 |  | -26
[6 empty] | 0.4% |  | WB |  | 46.2 |  |  | 47.4 |  |  | 51.2 |  | 55 |  |  | 62.6 |  |  | 67 |  | 68.9 |  | 68.3 |  | 65.4 |  | 59.1 |  |  | 50.4 |  |  |  | 46.2 |  | -27
Monthly Design | [7 empty] | MCDB |  | 66.9 |  |  | 70.2 |  |  | 75.7 |  | 74.8 |  |  | 82.1 |  |  | 88 |  | 86.2 |  | 85.3 |  | 85.3 |  | 75.8 |  |  | 73.9 |  |  |  | 67 |  | -28
Wet Bulb | [5 empty] | 2% |  | WB |  | 43.2 |  |  | 44.9 |  |  | 48.9 |  | 52.8 |  |  | 59.9 |  |  | 64.7 |  | 67.5 |  | 66.9 |  | 63.3 |  | 56.4 |  |  | 48.2 |  |  |  | 43.1 |  | -29
and | [7 empty] | MCDB |  | 61.7 |  |  | 66 |  |  | 70.9 |  | 73.5 |  |  | 79 |  |  | 85.6 |  | 85.3 |  | 85 |  | 82 |  | 74.9 |  |  | 70.7 |  |  |  | 61.6 |  | -30
Mean Coincident | [5 empty] | 5% |  | WB |  | 40.8 |  |  | 42.5 |  |  | 46.9 |  | 51.1 |  |  | 58.1 |  |  | 63.3 |  | 66.3 |  | 65.8 |  | 61.8 |  | 53.9 |  |  | 46 |  |  |  | 40.5 |  | -31
Dry Bulb | [7 empty] | MCDB |  | 56.9 |  |  | 60.8 |  |  | 68.3 |  | 71.7 |  |  | 76.8 |  |  | 83.8 |  | 84.5 |  | 83.7 |  | 81.6 |  | 73.8 |  |  | 65.7 |  |  |  | 56.4 |  | -32
Temperatures | [7 empty] | WB |  | 38 |  |  | 39.7 |  |  | 44.7 |  | 49.5 |  |  | 56.5 |  |  | 62 |  | 65.3 |  | 64.7 |  | 60.3 |  | 51.8 |  |  | 43.5 |  |  |  | 37.5 |  | -33
[8 empty] | MCDB |  | 50.8 |  |  | 54.7 |  |  | 63.7 |  | 69.5 |  |  | 74.8 |  |  | 82.5 |  | 83.8 |  | 82 |  | 79.3 |  | 70.9 |  |  | 59.3 |  |  |  | 50.4 |  | -34
[8 empty] | MDBR |  | 31.7 |  |  | 31.2 |  |  | 32.8 |  | 30.8 |  |  | 30.7 |  |  | 32.9 |  | 31.7 |  | 30.3 |  | 32.2 |  | 32.6 |  |  | 32.1 |  |  |  | 30.8 |  | -35
Mean Daily | [5 empty] | 5% DB |  | MCDBR |  | 41.6 |  |  | 41.8 |  |  | 42.9 |  | 41.4 |  |  | 39.5 |  |  | 39.8 |  | 37.2 |  | 35.6 |  | 38.4 |  | 42.2 |  |  | 43.1 |  |  |  | 40.6 |  | -36
Temperature | [7 empty] | MCWBR |  | 23.9 |  |  | 22.6 |  |  | 20.9 |  | 17.9 |  |  | 14.9 |  |  | 13.3 |  | 10.9 |  | 10.2 |  | 13.5 |  | 18.5 |  |  | 22.4 |  |  |  | 23.5 |  | -37
Range | [7 empty] | MCDBR |  | 39.6 |  |  | 40.5 |  |  | 40.1 |  | 36.9 |  |  | 33.4 |  |  | 32.8 |  | 29.3 |  | 29.1 |  | 31.9 |  | 36.2 |  |  | 40.6 |  |  |  | 38.9 |  | -38
[8 empty] | MCWBR |  | 23.2 |  |  | 22.4 |  |  | 20.2 |  | 16.6 |  |  | 13.6 |  |  | 12.1 |  | 9.2 |  | 9.4 |  | 11.7 |  | 16.5 |  |  | 21.6 |  |  |  | 23 |  | -39
taub | [9 empty] | 0.241 |  |  | 0.248 |  |  | 0.271 |  | 0.302 |  |  | 0.32 |  |  | 0.339 |  | 0.37 |  | 0.351 |  | 0.312 |  | 0.276 |  |  | 0.251 |  |  |  | 0.244 |  | -40
Clear-Sky taud | [9 empty] | 2.614 |  |  | 2.614 |  |  | 2.543 |  | 2.459 |  |  | 2.466 |  |  | 2.429 |  | 2.41 |  | 2.456 |  | 2.527 |  | 2.601 |  |  | 2.603 |  |  |  | 2.594 |  | -41
Solar Ebn at Noon | [9 empty] | 309 |  |  | 318 |  |  | 317 |  | 310 |  |  | 304 |  |  | 297 |  | 286 |  | 291 |  | 298 |  | 303 |  |  | 301 |  |  |  | 299 |  | -42
Edh at Noon | [9 empty] | 22 |  |  | 25 |  |  | 30 |  | 35 |  |  | 35 |  |  | 36 |  | 37 |  | 34 |  | 30 |  | 25 |  |  | 22 |  |  |  | 21 |  | -43
All-Sky Solar RadAvg | [9 empty] | 884 |  |  | 1169 |  |  | 1581 |  | 1933 |  |  | 2149 |  |  | 2363 |  | 2238 |  | 2039 |  | 1756 |  | 1328 |  |  | 979 |  |  |  | 782 |  | -44
Radiation RadStd | [9 empty] | 53 |  |  | 83 |  |  | 112 |  | 109 |  |  | 152 |  |  | 100 |  | 91 |  | 71 |  | 90 |  | 76 |  |  | 59 |  |  |  | 44 |  | -45
Historical Trends
( 4 ) ( 5 )
( 6 ) ( 7 ) ( 8 ) ( 9 ) ( 10 ) ( 11 ) ( 12 ) ( 13 ) ( 14 ) ( 15 ) ( 16 ) ( 17 ) ( 18 ) ( 19 ) ( 20 ) ( 21 ) ( 22 ) ( 23 ) ( 24 ) ( 25 ) 10% ( 26 ) ( 27 ) ( 28 ) ( 29 ) ( 30 ) ( 31 ) ( 32 ) ( 33 ) 10% ( 34 ) ( 35 ) ( 36 ) ( 37 ) ( 38 ) 5% WB ( 39 ) ( 40 ) ( 41 ) ( 42 )
( 43 ) ( 44 ) ( 45 ) | Irradiance
DBAvg Heating 99% DB 99% DP 1% DB | [19 empty] | Cooling 1% WB |  |  | 1% DP |  | HDD50 |  | Degree-Days HDD65 CDD50 CDD65
( d) ( e) | [13 empty] | ( f ) |  |  | ( g) |  |  | ( h) |  |  | ( i ) |  | ( j ) |  | ( k) |  | ( l ) |  | ( m)
+0.90 N/A | [13 empty] | N/A |  |  | N/A |  |  | N/A |  |  | N/A |  | N/A |  | N/A |  | 229 |  | 176 |  |  | -46
N/A N/A | [13 empty] | N/A |  |  | N/A |  |  | N/A |  |  | N/A |  | N/A |  | N/A |  | 135 |  | 58 |  |  | -47
( 46 ) Station Only ( 47 ) Regional (23 neighbors)
Nomenclature: See separate page
Annual Heating, Humidification, and Ventilation Design Conditions
Annual Cooling, Dehumidification, and Enthalpy Design Conditions